## Sheet1
Kean College/University: |  |  | (1994/1995)
| (before) |  |  |  | (after)
Pre - Installation of Stabilizer : |  |  |  | POST - Installation of Stabilizer:
HDD = |  | 2151 |  | 2937
Gallons used = = = |  | 381838 |  | 386302
K - Factor = = = = = |  | 0.01 |  | 0.01
Gallons per HDD = |  | 177.5 |  | 131.5
|  |  |  | Price per gallon = = |  | 0.6
|  |  |  | Fuel Savgs = = = = |  | 0.74
Actual Periods: |  |  |  |  | Percent = | 26%
Before: | After: |  |  | Gals per HDD Savd= |  | 26%
10/94 | 10/95 |  |  | Gallons would have been used:
11/94 | 11/95 |  |  |  |  | 521366
12/94 | 12/95
1/95 | 1/96 |  |  | Gallons saved/reduced by :
135064
(4 mths) | (4 mths)
|  |  |  | Cost Savings $ $ = |  | 81038
Emissions Reduced by Gallons Saved :
Lbs - CO2 = = = = |  | 2123384
Lbs - Carb Equv = = |  | 579111
Lbs - SOX = = = = = |  | 12418
Lbs - NOX = = = = = |  | 2848
Lbs - PM 10 = = = = |  | 280
Lbs - CO = = = = = |  | 327
Lbs - VOC = = = = = |  | 47
(GHG reduction 74%)
You'll receive additional emissions reduction from using
our fuel device (not shown)